## Slide 1: Fourier transform cavity ring-down spectroscopy using an optical frequency comb source
Romain Dubroeucq*, Dominik Charczun+, Piotr Masłowski+, Lucile Rutkowski*
* Univ Rennes, CNRS, IPR (Institut de Physique de Rennes)-UMR 6251, F-35000 Rennes, France
+ Institute of Physics, Faculty of Physics, Astronomy and Informatics, Nicolaus Copernicus University, Grudziadzka 5, 87-100 Torun, Poland

## Slide 2: Cavity ring-down spectroscopy
CRDS based on cw diode lasers
  High sensitivity
  Calibration free
  Simple and robust absorption spectrometer
Multiplexed CRDS?
2022
2025
1996-2006
Romain Dubroeucq, JSM2025 – 10 mars 2025

## Slide 3
R. Dubroeucq and L. Rutkowski, Opt. Express, 30 (8), 13594 (2022)
R. Dubroeucq, D. Charczun, P. Masłowski and Lucile Rutkowski, APL Photonics 10 (2), 026111 (2025)
Comb
Ref.
Interferograms
DDG threshold
Optical path difference
Experimental principle
( )
Optical frequency comb
Ring-down cavity
Ar
c
o
τRD = 12 µs
AOM
DDG
DAQ trig
cw Ref
Ref.
DAQ, CH2
DAQ, CH1
Fourier transform spectrometer
Romain Dubroeucq, JSM2025 – 10 mars 2025
CH2
CH1

## Slide 4: Post-processing data treatment
CH1 - balanced CH2
DAQ CH1
Noise cancellation
FFT
Ring-down spectrum
OPD
Time
Intensity
Frequency
Time
Intensity
OPD
Time
Intensity
Abs(FFT)
R. Dubroeucq and L. Rutkowski, Opt. Express, 30 (8), 13594 (2022)
R. Dubroeucq, D. Charczun, P. Masłowski and L. Rutkowski, APL Photonics 10 (2), 026111 (2025)
Ref.
1
2
3
δOPD
Romain Dubroeucq, JSM2025 – 10 mars 2025

## Slide 5: Measured ring-down events
Fit the characteristic time of the exponential
decays at each spectral element
  Exponential decay :
  Fit amplitude , offset and ring-down time
  Only keep linear part of log to avoid PD noise level
  The retrieved decays are single exponential
  SNR > 1000
Frequency
Time
Intensity
R. Dubroeucq, D. Charczun, P. Masłowski and L. Rutkowski, APL Photonics 10 (2), 026111 (2025)
= 12.7 µs
Romain Dubroeucq, JSM2025 – 10 mars 2025

## Slide 6: Experimental setup
Comb and cavity locking decoupled using an intermediate cw laser
The AOM shutoff does not affect the lock
Stabilization of the cavity length
 Averaging possible
Closed cavity and calibrated gas sample
Beatnote
lock
Osc.
Trigger
Digital delay generator
FTS
AOM
Amp.
Er:fiber comb
H maser
fceo
4 frep – 980 MHz
Phase Det.
PZT
PBS
λ/2
λ/4
Slit
Pound-Drever-Hall locking electronics
cw laser
EOM
CRDS cavity
F ~ 20,000
Comb source:
frep ~ 250 MHz (matched to cavity FSR)
fceo RF locked to a H maser
Oscillator optically locked to RIO cw laser
Amp shifted by 200 MHz by AOM
CW reference: @ 1.565 µm
Locked to cavity using PDH
( )
R. Dubroeucq, D. Charczun, P. Masłowski and L. Rutkowski, APL Photonics 10 (2), 026111 (2025)
Romain Dubroeucq, JSM2025 – 10 mars 2025

## Slide 7: Spectroscopy of CO in Ar
Mixture 250 ppm CO in Ar:
Total pressure = 534 Torr, [CO] ~ 250 ppm
Ambient temperature
Resolution 251 MHz
Averaging of 15 spectra, 80 min acquisition
[cτrd(ν)]-1 = [cτ0(ν)]-1 + α(ν)
Baseline subtraction
R. Dubroeucq, D. Charczun, P. Masłowski and L. Rutkowski, APL Photonics 10 (2), 026111 (2025)
Romain Dubroeucq, JSM2025 – 10 mars 2025

## Slide 8: Spectroscopy of CO in Ar
Mixture 250 ppm CO in Ar:
Total pressure = 534 Torr, [CO] ~ 250 ppm
Ambient temperature
Resolution 251 MHz
Averaging of 15 spectra, 80 min acquisition
NEA = 1.1 × 10-9 cm-1
Figure of merit : 9.6 × 10-10 cm-1 Hz-1/2 per spectral element
R. Dubroeucq, D. Charczun, P. Masłowski and L. Rutkowski, APL Photonics 10 (2), 026111 (2025)
Romain Dubroeucq, JSM2025 – 10 mars 2025

## Slide 9
Spectroscopy of CO in Ar
CO-Ar pressure broadening parameters :
J.-P. Bouanich and C. Haeusler, JQSRT 12 (4), 695-702 (1972)
R. Dubroeucq, D. Charczun, P. Masłowski and L. Rutkowski, APL Photonics 10 (2), 026111 (2025)
Romain Dubroeucq, JSM2025 – 10 mars 2025
this work

## Slide 10: Beyond Voigt
R. Dubroeucq, D. Charczun, P. Masłowski and L. Rutkowski, APL Photonics 10 (2), 026111 (2025)
Romain Dubroeucq, JSM2025 – 10 mars 2025
Line profile investigation:
Voigt Profile:
line intensity from HITRAN 2020
Fit the first order collisional broadening coefficient, concentration and temperature
[CO] = 244.8(21) ppm ; T= 295.2(15) K
Hartman-Tran Profile:
line intensity from HITRAN 2020
Collisional broadening parameters from Kowzan et al., JQSRT, 191, 46 (2017).
Fit CO concentration and temperature
[CO] = 242.8(15) ppm ; T = 292.6(9) K

## Slide 11: Conclusion FT-CRDS
Funding sources
Piotr Masłowski & Dominik Charczun
Parallel acquisition of multiple ring-down :
Time-resolved FTS to detect the cavity decays
High SNR using FTS balancing
Compatible with 20’000 finesse cavity
Spectrum calibration-free in absorption
Absorption sensitivity 1.1 × 10-9 cm-1
FoM 9.6 × 10-10 cm-1 Hz-1/2 per spectral element
Precision spectroscopy of CO in Ar :
High precision absorption retrieval
Line profiles beyond Voigt
Poster session : DCS for greenhouse gases remote sensing
Romain Dubroeucq, JSM2025 – 10 mars 2025

## Slide 12: Balancing procedure
Balancing mechanism :
Photodiodes difference correction
Substraction of the two interferograms
Gain difference
SNR ×33
Romain Dubroeucq, JSM2025 – 10 mars 2025
CH2
CH1

## Slide 13: Balanced interferogram
Romain Dubroeucq, JSM2025 – 10 mars 2025